## Inputs
Desired Dose (J/cm^2) | 5
Detector Diameter (mm) | 19
Detector Area (cm^2)
Formula (read-only): t[s] = 1000 * D(J/cm^2) * A(cm^2) / P(mW)
Note: Area comes from a circular detector with A = π * (diameter_cm/2)^2 = π * (diameter_mm/20)^2
Constant factor k = 1000 * D * A (J·cm^2->mW·s)

## Data
Power (mW) | Current (A) | Required Time (s) | Required Time (min)
33 | 0.72
50 | 0.87
70 | 1.08
90 | 1.25
110 | 1.46